How to use COMxL RS232C ?

Steps:

- Open your Excel File and highlight the range you want Data to fill in at anywhere

- Run "COMxL RS232C" from Excel's menu

- Connect RS232C port by click button "Connect (F1)" in COMxL's Operation Panel

- Input Data to your Excel File from instrument or download Data by sending a command to instrument

Note: Before you connect RS232C port (Step 3), you maybe need set tools' communication parameters at first time or when you want to change the settings, you also can select the moving direction of Data in your Excel sheet.